| Name of your Company or Service. | Street Address Phone xxx-xxx-xxx City Fax xxx-xxx-xxx State, Zip email address |
| --- | --- |

Quantitative EEG Analyses

PATIENT INFORMATION					RECORDING

Name:									Date: December 2, 2013

Exam#:  05172005	      			        			Ref. By: Dr.

Age: 14.38 years							Test Site:

Sex:  Male								Analysis Length: 2:00 Minutes

Handedness:  Right							Ave. EEG Reliability: 0.97 (SH)

Ave. EEG Reliability: 0.94 (TRT)

Medication:	Seroquel.

HISTORY:  severe impulsivity or explosive expression of anger; severe defiant, disruptive or destructive behavior; dangerous, self-injurious or unsafe behaviors; drug/alcohol use with functional impairments; severe deterioration of functioning (family, school, community); questioned cognitive processing disturbance interfering w/social adaptation & learning; questioned recurrent thoughts, impulses or images; serious violations of societal norms; and irritable or labile mood - ICD, SUD, ODD vs Conduct, History of LD, R/O Cognitive D/O, Mood D/O (?), R/O C-P Seizure D/O, Static Encephalopathy (?).

SUMMARY OF EEG ANALYSES:

The power spectral analyses were deviant from normal with excessive power in bilateral frontal regions and especially left frontal and in left temporal regions over a wide frequency range.   LORETA 3-dimensional source analyses were consistent with the surface EEG and showed excessive current sources in left middle and left inferior frontal gyri with a maximum at 3 Hz, 8 Hz & 11 Hz (Brodmann areas 9, 45 & 46).   Elevated LORETA current sources were present in the left superior, inferior and middle temporal gyri with maxima at 10 Hz & 15 Hz (Brodmann areas 21, 22, 37 & 42).   Elevated LORETA current sources were also present in bilateral superior parietal lobule and precuneus of the parietal lobes with a maximum at 20 Hz (Brodmann areas 7, 19 & 31).     EEG amplitude asymmetry, EEG coherence and EEG phase were abnormal, especially in bilateral frontal and temporal relations.   Reduced coherence was present in the bilateral frontal and temporal regions which indicates reduced functional connectivity.  Elevated coherence was present in bilateral temporal and especially right temporal regions which indicates reduced functional differentiation.   Both conditions are often related to reduced speed and efficiency of information processing.   The learning disability discriminant function detected a pattern in the EEG that is commonly present in individuals with a history of general academic problems.   The mild traumatic brain injury discriminant function detected a pattern in the EEG that is commonly present in individuals with a history of traumatic brain injury.    The brain performance index (BPI) predicted an average capacity to efficiently allocate neural resources with a balanced prediction for performance I.Q. and verbal I.Q.   The BPI was not designed to replace neuropsychological testing but rather is a measure of the general health of the brain and the degree to which neural resources are efficiently allocated.    In summary, the qEEG analyses were deviant from normal and showed de-regulation of the bilateral frontal lobes and especially left frontal, bilateral temporal lobes and the bilateral precuneus.   The temporal lobes are involved in auditory information processing, short-term memory, receptive language on the left and face recognition on the right.   The parietal lobes are involved in visual-spatial information processing, short-term memory, executive attention, receptive language on the left and awareness of emotional expression in others on the right (e.g., prosody).  The precuneus is involved in visual-spatial information processing, short-term memory and match mismatch of frontal generated expectations and sensory input.  The cingulate gyrus is involved in volitional motor control and attention control by regulation of limbic emotional and memory input to the cortex.   The insular cortex is involved in autonomic system regulation, pain perception, anxiety control and subjective experience.  The posterior cingulate gyrus is involved in short-term memory and attention control by regulation of limbic emotional and memory input to the cortex.   The parahippocampal gyrus is involved in the creation of new memories, retrieval of short-term memory and attention control.   The lingual gyrus & precuneus is involved in visual-spatial information processing and match mismatch of frontal generated expectations and sensory inputs.   The frontal regions are involved in mood control, executive functioning, abstract thinking and social skills.   To the extent there is deviation from normal electrical patterns in these structures, then sub-optimal functioning is expected.

NEUROFEEDBACK RECOMMENDATIONS:

The following implications for neurotherapy are offered based upon the clinical evaluation of the patient as well as the reference data base results.  These suggestions for neurotherapy should be evaluated with caution and should only be considered as possible strategies that the clinician may considered in his/her evaluation.   If the patient is depressed, then the clinician should consider treating this condition first through alpha frequency enhancement or some other biofeedback protocol that may reduce depression.  If depression or poor mood and/or motivation is not a problem then the clinician may consider using one or more strategies with the priority of treatment in the order presented below.

1- Suppress frequency activity 6 - 7 Hz at C4.

2- Suppress frequency activity 10 - 11 Hz at Pz.

3- Reinforce EEG coherence at 13 - 25 Hz between Pz and C3.

### _____________________________________________

### Robert W. Thatcher, Ph.D., QEEG-D, BCIA, ECNS

Electrical NeuroImaging

Linking a patient’s symptoms and complaints to functional systems in the brain is important in evaluating the health and efficiency of cognitive and perceptual functions.   The electrical rhythms in the EEG arise from many sources but approximately 50% of the power arises directly beneath each recording electrode.   Electrical NeuroImaging uses a mathematical method called an “Inverse Solution” to accurately estimate the sources of the scalp EEG (Pascual-Marqui et al, 1994; Pascual-Marqui, 1999).     Below is a Brodmann map of anatomical brain regions that lie near to each 10/20 scalp electrode with associated functions as evidenced by fMRI, EEG/MEG and PET NeuroImaging methods.

Conventional EEG Samples and Quantitative EEG Analyses

Fig. 1 - Example of EEG and Absolute Power Z scores – Linked Ears eyes closed condition

Fig. 2- Example of Laplacian Absolute Power – eyes closed condition

Fig. 3 – Example of LORETA Z Scores at 3 Hz.  (Brodmann Area: xxx)

Fig. 4 – Example of LORETA Z Scores at 8 Hz.  (Brodmann Area: xxx)

Fig. 5 – Example of LORETA Z Scores at 10 Hz.  (Brodmann Area: xxx)

Fig. 6 – Example of LORETA Z Scores at 11 Hz.  (Brodmann Area: xxx)

Fig. 7 – Example of LORETA Z Scores at 15 Hz.  (Brodmann Area: xxx)

Fig. 8 – Example of LORETA Z Scores at 20 Hz.  (Brodmann Area: xxx)

An Addendum to Neuroguide QEEG Report

Important disclaimer - QEEG tests are ancillary tests that are not intended to provide a diagnosis by themselves, but are used to evaluate the nature and severity of deregulation in the brain such as in mild traumatic brain injury.   The QEEG tests provide a quantitative assessment of areas of brain dysfunction and information on impaired conduction and connectivity between different regional neural networks in the brain. The assessment of impaired connectivity is based on abnormal measurements of Coherence and Phase.

The TBI Discriminant does not provide a diagnosis for MTBI but only information on the presence of a pattern in the EEG that is often found in patients with a history of mild traumatic brain injury.    The TBI discriminant also provides information about connectivity and excitability of  brain regions.

The TBI discriminant is to be used only on patients with a clinical history and symptoms of a Traumatic Brain Injury and Post Concussion syndrome.

The diagnosis of MTBI is a clinical one and is not based on any one test.   A diagnosis is performed by the clinician, who integrates the medical history, clinical symptoms, neurocognitive tests with the above mentioned brain function tests as well as other information to render a diagnosis.

The information on impaired brain connectivity is derived primarily from abnormal measurements of Coherence and Phase. Assessments of regional abnormality rely also on abnormal amplitude (power) distribution across the spectrum of EEG frequencies as compared to the normative database.

Description of the Neuroguide Normative Database:

The NeuroGuide normative database in versions 1.0 to 2.4.6 included a total of 625 carefully screened individual subjects ranging in age from 2 months to 82 years.  NG 2.5.1 (6/12/2008) involved the addition of 53 adult subjects ranging in age from 18.3 years to 72.6 years resulting in a normative database of 678 subjects.  The inclusion/exclusion criteria, demographics, neuropsychological tests, Gaussian distribution tests and cross-validation tests are described in several peer reviewed publications (Thatcher et al, 1983; 1987; 2003).   Two year means were computed using a sliding average with 6 month overlap of subjects.   This produced a stable and higher age resolution normative database with a total of 21 different age groups.   The 21 age groups and age ranges and number of subjects per age group is shown in the bar graph in Appendix F figure 2 in the NeuroGuide Manual (click Help > NeuroGuide Help).

The individuals used to create the normative database met specific clinical standards of no history of neurological disorders, no history of behavioral disorders, performed at grade level in school, etc. Most of the subjects in the normative database were given extensive neuropsychological tests. Details of the normative database are published at: Thatcher, R.W., Walker, R.A. and Guidice, S. Human cerebral hemispheres develop at different rates and ages. Science, 236: 1110-1113, 1987 and Thatcher R.W., Biver, C.L., North, D., Curtin, R. and Walker, R.W. Quantitative

EEG Normative Databases: Validation and Clinical Correlation. Journal of Neurotherapy, 2003, 7(3/4): 87-121. You can download a description of the normative database by going to www.appliedneuroscience,com and clicking on the webpage Articles & Links > Articles > Article #5.

Is there a normative database for different montages including bipolar montages?

Yes. The raw digital data from the same group of normal subjects is analyzed using different montages such as Average Reference, Laplacian current source density, a common reference based on all 19 channels of the 10/20 system and standard clinical bipolar montages (e.g., longitudinal, circular, transverse). Users can create any montage that they wish and there will be a normative reference database comparison available for both eyes closed and eyes open conditions

Age range of the LORETA current density and Source Correlation normative databases

The LORETA current density and source correlation norms use the same subjects as are used for the surface EEG norms and the age range is 2 months to 82 years. The computational details of the LORETA current density norms are published at: Thatcher, R.W., North, D., Biver, C. EEG inverse solutions and parametric vs. non-parametric statistics of Low Resolution Electromagnetic Tomography (LORETA). Clin. EEG and Neuroscience, Clin. EEG and Neuroscience, 36(1), 1 – 9, 2005 and Thatcher, R.W., North, D., Biver, C. Evaluation and Validity of a LORETA normative EEG database. Clin. EEG and Neuroscience, 2005, 36(2): 116-122. Copies of these publications are available to download from www.appliedneuroscience,com by clicking Articles & Links > Articles > Numbers 11 and 12. The computational details of the LORETA source correlation norms are in the NeuroGuide manual, click Help > NeuroGuide help > Appendix-G

Implementation of LORETA measurement in Neuroguide

The Key Institute’s LORETA equations and the LORETA viewer (Pacual-Marqui et al, 1994; Pascual-Marqui, 1999) can be launched by a single mouse click in the NeuroGuide window.  NeuroGuide Deluxe exports frequency domain and time domain edits of 19 channel x 256 point digital EEG in microvolts (or uv^2) in the Lexicor electrode order as the standard input to the Key Institute T-Matrix. Rows are 256 microvolt time points and the columns are 19 channels at a sample rate of 128 thus producing 0.5 Hz resolution from 1 to 30 Hz. 1 Hz increments in the LORETA viewer are computed as the sum of adjacent 0.5 Hz bins and thus the ‘Time Frame’ control in the LORETA Viewer is frequency from 1 to 30 Hz.  (see Pascual-Marqui RD, Michel CM, Lehmann D., 1994. Low resolution electromagnetic tomography: a new method for localizing electrical activity in the brain. International Journal of Psychophysiology 18:49-65.  For computational details see: Pascual-Marqui. R.D., 1999. Review of Methods for Solving the EEG Inverse Problem. International Journal of Bioelectromagnetism, Volume 1, Number 1, pp:75-86.  Pascual-Margui, R.D., 2004.   Free software and documentation from the Key Institute that was downloaded from http://www.unizh.ch/keyinst/NewLORETA/Software/Software.htm.)

There is a need to match different amplifiers to the amplifier on which the Neuroguide amplifier that acquired the original database information.

This stems from the fact that amplifiers have different frequency gain characteristics.  The matching of amplifiers to the Neuroguide database amplifier was done by injecting microvolt calibration signals of different amplitudes and frequencies into the input of the respective EEG machines and then computing correction curves to exactly match the amplifier characteristics of the norms and discriminant functions. The units of comparison are in microvolts and a match within 3% is generally achieved. The Neuroguide research team double checked the amplifier match by computing FFT and digital spectral analyses on calibration signals used to acquire the norms with the calibration signals used to evaluate a given manufacturers amplifiers.

History of the Scientific Standards of QEEG Normative Databases

A review of the history of QEEG normative databases was published in  Thatcher, R.W. and Lubar, J.F.  History of the scientific standards of QEEG normative databases.  In: Introduction to QEEG and Neurofeedback: Advanced Theory and Applications, T. Budzinsky, H. Budzinsky, J. Evans and A. Abarbanel (eds)., Academic Press, San Diego, CA, 2008.    A copy of the publication can be downloaded at:  http://www.appliedneuroscience.com/HistoryofQEEG%20Databases.pdf

QEEG Normative Database Publications and Validations:

\Bosch-Bayard J, Valdes-Sosa P, Virues-Alba T, Aubert-Vazquez E, John ER, Harmony T, Riera-Diaz J, Trujillo-Barreto N.  (2001).  3D statistical parametric mapping of EEG source spectra by means of variable resolution electromagnetic tomography (VARETA). Clin Electroencephalogr., 32(2):47-61.

Coburn, K.L., Lauterback, E.C., Boutros, N.N., Black, K.J., Arciniegas, D.B. and Coffey, C.E.  (2006).  The value of quantitative electroencephalography in clinical psychiatry: A report by the committee on research of the American Neuropsychiatric Association.  J. Neuropsychiat. and Clin. Neurosci. 18: 460-500.

Congedo M, John RE, De Ridder D, Prichep L. (2010). Group independent component analysis of resting state EEG in large normative samples.  Int J Psychophysiol. 78(2):89-99.

Congedo M, John RE, De Ridder D, Prichep L, Isenhart R. (2010).  On the "dependence" of "independent" group EEG sources; an EEG study on two large databases.  Brain Topogr.,23(2):134-138.

Hernandez-Gonzalez G, Bringas-Vega ML, Galán-Garcia L, Bosch-Bayard J, Lorenzo-Ceballos Y, Melie-Garcia L, Valdes-Urrutia L, Cobas-Ruiz M, Valdes-Sosa PA; Cuban Human Brain Mapping Project (CHBMP). (2011).  Multimodal quantitative neuroimaging databases and methods: the Cuban Human Brain Mapping Project. Clin EEG Neurosci., 42(3):149-59.

Duffy, F., Hughes, J. R., Miranda, F., Bernad, P. & Cook, P. (1994). Status of quantitative EEG (QEEG) in clinical practice. Clinical. Electroencephalography, 25 (4), VI - XXII.

Gasser, T., Verleger, R., Bacher, P., & Sroka, L. (1988a). Development of the EEG of school-age children and adolescents. I. Analysis of band power. Electroencephalography and Clinical Neurophysiology, 69 (2), 91-99.

Gasser, T., Jennen-Steinmetz, C., Sroka, L., Verleger, R., & Mocks, J. (1988b). Development of the EEG of school-age children and adolescents. II: Topography. Electroencephalography Clinical Neurophysiology, 69 (2), 100-109.

Gordon, E., Cooper, N., Rennie, C., Hermens, D. and Williams, L.M. (2005).  Integrative neuroscience: The role of a standardized database.  Clin. EEG and Neurosci., 36(2): 64-75.

Hughes, J. R. & John, E. R. (1999). Conventional and quantitative electroencephalography in psychiatry. Neuropsychiatry, 11, 190-208.

John, E.R. Functional Neuroscience, Vol. II: Neurometrics: Quantitative Electrophysiological Analyses. E.R. John and R.W. Thatcher, Editors.  L. Erlbaum Assoc., N.J., l977.

John, E.R. Karmel, B., Corning, W. Easton, P., Brown, D., Ahn, H., John, M., Harmony, T., Prichep, L., Toro, A., Gerson, I., Bartlett, F., Thatcher, R., Kaye, H., Valdes, P., Schwartz, E.  (1977). Neurometrics:  Numerical taxonomy identifies different profiles of brain functions within groups of behaviorally similar people. Science, l96, :1393-1410.

John, E. R., Prichep, L. S. & Easton, P. (1987). Normative data banks and neurometrics: Basic concepts, methods and results of norm construction. In A. Remond (Ed.), Handbook of electroencephalography and clinical neurophysiology: Vol. III. Computer analysis of the EEG and other neurophysiological signals (pp. 449-495). Amsterdam: Elsevier.

John, E.R., Ahn, H., Prichep, L.S., Trepetin, M., Brown, D. and Kaye, H. (1980) Developmental equations for the electroencephalogram. Science, 210: 1255–1258.

John, E. R., Prichep, L. S., Fridman, J. & Easton, P. (1988). Neurometrics: Computer assisted differential diagnosis of brain dysfunctions. Science, 293, 162-169.

John, E.R.  (1990). Machinery of the Mind: Data, theory, and speculations about higher brain function.  Birkhauser, Boston.

Galán, L., Biscay, R., and Valdés P., (1994). Multivariate statistical brain electromagnetic mapping ” Brain topography, 7(1): 17-28.

Koenig T, Prichep L, Lehmann D, Sosa PV, Braeker E, Kleinlogel H, Isenhart R, John ER. (2002).  Millisecond by millisecond, year by year: normative EEG microstates and developmental stages. Neuroimage, 16(1):41-48.

Matousek, M. & Petersen, I. (1973a).  Automatic evaluation of background activity by means of agee-dependent EEG quotients. EEG & Clin. Neurophysiol., 35: 603-612.

Matousek, M. & Petersen, I. (1973b). Frequency analysis of the EEG background activity by means of age dependent EEG quotients. In P. Kellaway & I. Petersen (Eds.), Automation of clinical electroencephalography (pp. 75-102). New York: Raven Press.

Prichep, L.S. (2005).  Use of normative databases and statistical methods in demonstrating clinical utility of QEEG: Importance and cautions.  Clin. EEG and Neurosci., 36(2): 82 – 87.

Thatcher, R.W., Walker, R.A., Biver, C., North, D., Curtin, R., (2003). Quantitative EEG Normative databases: Validation and Clinical Correlation, J. Neurotherapy, 7 (No. ¾): 87 – 122.

Thatcher, R. W. (1998). EEG normative databases and EEG biofeedback. Journal of Neurotherapy, 2 (4), 8-39.

Thatcher, R.W., North, D., and Biver, C.  EEG inverse solutions and parametric vs. non-parametric statistics of Low Resolution Electromagnetic Tomography (LORETA).   Clin. EEG and Neuroscience, Clin. EEG and Neuroscience, 36(1), 1 – 9, 2005a.

Thatcher, R.W., North, D., and Biver, C.  Evaluation and Validity of a LORETA normative EEG database.  Clin. EEG and Neuroscience, 2005b, 36(2): 116-122.

Thatcher, R.W., McAlaster, R., Lester, M.L., Horst, R.L. and Cantor, D.S. (1983).  Hemispheric EEG Asymmetries Related to Cognitive Functioning in Children. In: Cognitive Processing in the Right Hemisphere, A. Perecuman (Ed.), New York: Academic Press.

Thatcher, R.W.  (1992).  Cyclic cortical reorganization during early childhood.  Brain and Cognition, 20: 24-50.

Thatcher, R.W. and Lubar, J.F.  History of the scientific standards of QEEG normative databases.  In: Introduction to QEEG and Neurofeedback: Advanced Theory and Applications, T. Budzinsky, H. Budzinsky, J. Evans and A. Abarbanel (eds)., Academic Press, San Diego, CA, 2008.

Thatcher, R.W.  Reliability and validity of quantitative electroencephalography (qEEG).  J. of Neurotherapy, 14:122-152, 2010.